# F5 Fire Prevention

Appendix A

FIRE RISK ASSESSMENT

REGULATORY REFORM (FIRE SAFETY) ORDER 2005

Premises Name and Address:

| Responsible person | Corporate Director – Adult Social Care Cumberland Council Registered Manger of Services: |  |
| --- | --- | --- |
| Person with designated responsibility for fire safety | Supervisor: Manager: |  |
| Date of fire risk assessment |  |  |
| Risk assessment reviews This fire risk assessment should be reviewed by a competent person by the date indicated above or at such earlier time as there is reason to suspect that it is no longer valid, or if there has been a significant change in the matters to which it relates, or if a fire occurs. |  |  |
| Review completed by: |  | Date of Review: |

GENERAL INFORMATION

THE PREMISES

| Number of floors: Brief description of building: |  |
| --- | --- |
| Number of Tenants: Brief description of abilities to evacuate the premises: |  |
| Maximum number of support staff on shift at any one time: | Minimum number of support staff on shift at any one time: |

RELEVANT FIRE SAFETY LEGISLATION

It is considered that the Regulatory Reform (Fire Safety) Order 2005 is applicable to these premises in respect of the areas considered to be a place of work. Note however that community-based housing provided for people with physical disabilities, learning difficulties or mental illness covered by this document is a home to these individuals. Therefore, in providing an acceptable level of fire safety, due recognition should be given to this fact. It is important to maintain a homely, non-institutional environment. Careful consideration should be given to any intended standards to avoid adverse effects on the quality of the residents’ life, or the care they receive.

Using this document.

Each section identifies recognised areas of fire risk and the control measures that could be reasonably expected. The comments in each section record the assessor’s opinions in respect of the adequacy of the current control measures and where necessary, what additional measures should be implemented or considered. Where a section generates a “No” response the reason should be recorded in the relevant ‘Comments and hazards observed’ box; the necessary remedial measures required should also be recorded.

Once the questionnaire has been completed any remedial measures necessary to achieve the required fire safety standards should be recorded in the appropriate section of the Action Plan at the end of the document; each item will be prioritised.

The member of staff who has been designated to manage the fire safety within the building will be responsible for ensuring that the required remedial actions have been implemented.

FIRE HAZARDS AND THEIR ELIMINATION OR CONTROL

| - ELECTRICAL SOURCES OF INGNITION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Has the fixed installation subject to test and inspection every five years? | Yes |  |  | No |  |
| Is portable appliance testing (PAT testing) carried out where appropriate? | Yes |  |  | No |  |
| Suitable limitation of trailing leads and adapters? | Yes |  |  | No |  |
| Are regular checks carried out to ensure that electrical sockets are not overloaded? | Yes |  |  | No |  |
| Battery Charging If batteries are charged is this carried out in a suitable location, i.e. away from combustible materials? | Yes |  |  | No |  |
| Is the use of electric blankets avoided? | Yes |  |  | No |  |
| Are staff familiar with the location of the electrical isolation facilities (e.g. fuse boards, maim electrical intake for the building)? | Yes |  |  | No |  |
| Is there a suitable management system for reporting damaged electrical equipment and its subsequent repair or replacement? | Yes |  |  | No |  |
| Comments and hazards observed: |  |  |  |  |  |
| - SMOKING |  |  |  |  |  |  |
| Are reasonable measures taken to prevent fires as a result of smoking? |  |  | Yes |  | No |  |
| Comments and hazards observed: |  |  |  |  |  |  |
| - PORTABLE HEATERS AND HEATING INSTALLATIONS |  |  |  |  |  |  |
| Is the use of portable heaters avoided as far as practicable? |  |  | Yes |  | No |  |
| Are there open fire places or log burners in use in the property? |  |  | Yes |  | No |  |
| Are fixed heating installations subject to regular maintenance? |  |  | Yes |  | No |  |
| Is the gas isolation valve for the central heating boiler(s) readily accessible and staff understand how it operates? |  |  | Yes |  | No |  |
| Comments and hazards observed: |  |  |  |  |  |  |
| - COOKING |  |  |  |  |  |  |
| Are reasonable measures taken to prevent fires as a result of cooking? |  |  | Yes |  | No |  |
| Filters changed and ductwork cleaned regularly? |  |  | Yes |  | No |  |
| Is a deep fat fryer used? |  |  | Yes |  | No |  |
| Are toasters located away from combustible materials? |  |  | Yes |  | No |  |
| Suitable extinguishing appliances available? |  |  |  |  |  |  |
| Comments and hazards observed: |  |  |  |  |  |  |
| - LAUNDRY |  |  |  |  |  |  |
| Filter in tumble dryer cleaned prior to each use. |  |  | Yes |  | No |  |
| Irons are not left unattended and stored safely until cool. |  |  | Yes |  | No |  |
| Comments and hazards observed: |  |  |  |  |  |  |
| - HOUSEKEEPING / SOURCES OF FUEL |  |  |  |  |  |  |
| In general, are combustible materials separated from potential ignition sources as far as practicable? |  |  | Yes |  | No |  |
| Are waste materials carefully controlled? E.g. Internal waste bins emptied daily Waste not allowed to accumulate? |  |  | Yes |  | No |  |
| Are reasonable measures in place to reduce the risk of arson? |  |  | Yes |  | No |  |
| Soft Furnishings Upholstered furniture and curtains are constructed from fire and flame retardant materials? |  |  | Yes |  | No |  |
| Cleaning chemicals Adequate storage provided for cleaning materials including aerosols? |  |  | Yes |  | No |  |
| Comments and hazards observed: |  |  |  |  |  |  |
| - MEDICAL OXYGEN |  |  |  |  |  |  |
| Conservers used when deemed to be suitable. |  | Yes |  |  | No |  |
| Designated area to store oxygen cylinders restricted access, away from heat source and signed. |  | Yes |  |  | No |  |
| Is appropriate signage displayed to indicate Oxygen In Use, No Smoking No Naked Flames |  | Yes |  |  | No |  |
| Staff trained in safety procedures |  | Yes |  |  | No |  |
| Comments and hazards observed: |  |  |  |  |  |  |

FIRE PROTECTION MEASURES

| - MEANS OF ESCAPE FROM FIRE |  |  |
| --- | --- | --- |
| Can fire exits be opened immediately and easily where necessary? | Yes | No |
| Are any areas in the property that are more than 18 meters from an external exit door? | Yes | No |
| Are there alternative means of escape where required? | Yes | No |
| Suitable protection of escape routes? | Yes | No |
| Escape routes unobstructed and free from slip/trip hazards? | Yes | No |
| Has suitable provision has been made for those occupants with a physical disability and or sensory impairment? | Yes | No |
| Have Personal Emergency Evacuation Plans been devised and documented? | Yes | No |
| There are adequate staffing levels to assist with the evacuation at all times? | Yes | No |
| There are adequate numbers of protected stairways to enable safe evacuation | Yes | No |
| Fire evacuation assembly areas are in a safe location, clear of the building | Yes | No |
| Comments and hazards observed: |  |  |
| - MEASURES TO LIMIT FIRE SPREAD AND DEVELOPMENT |  |  |
| Are fire resisting walls and ceilings well maintained with any openings for pipes, ducts etc. protected by a fire resisting materials | Yes | No |
| Internal Fire resisting and smoke stop doors in good condition, with fully operating self-closing devices? | Yes | No |
| Fire doors free from obstruction e.g. not wedged open | Yes | No |
| Comments and hazards observed: |  |  |
| - EMERGENCY ESCAPE LIGHTING |  |  |
| Reasonable standard of emergency escape lighting system provided? | Yes | No |
| Comments and hazards observed: |  |  |
| - FIRE SAFETY AND NOTICES |  |  |
| Are all escape routes provided with adequate signage to clearly indicate the direction of escape, including alternative routes? | Yes | No |
| Are all fire extinguishers provided with a sign indicating the type of extinguisher and its designated use? | Yes | No |
| Are all fire alarm manual call points provided with a Fire Action Notice? | Yes | No |
| Are fire doors provided with an appropriate sign? | Yes | No |
| Are other warning signs provided where required, e.g. oxygen storage? | Yes | No |
| Comments and hazards observed: |  |  |
| - MEANS OF GIVING WARNING IN CASE OF FIRE |  |  |
| Is automatic fire detection provided to an appropriate standard? | Yes | No |
| Is the fire alarm panel readily accessible and provided with a zone plan? | Yes | No |
| Are fire alarm manual call points provided at each exit and storey exit? | Yes | No |
| Are alarm call points readily accessible? | Yes | No |
| Comments and hazards observed: |  |  |
| - MANUAL FIRE EXTINGUISHING APPLIANCES |  |  |
| Is there adequate provision of portable fire extinguishers that are suitable types for the fire risk? | Yes | No |
| Are all fire extinguishing appliances readily accessible? | Yes | No |
| Comments and hazards observed: |  |  |

MANAGEMENT OF FIRE SAFETY

| - PROCEDURES AND ARRANGEMENTS |  |  |  |
| --- | --- | --- | --- |
| Competent person(s) appointed to assist in undertaking the preventive and protective measures (i.e. relevant general fire precautions)? |  | Yes | No |
| Appropriate fire procedures in place and documented? |  | Yes | No |
| Has suitable provision has been made for those occupants with a physical disability and or sensory impairment? |  | Yes | No |
| Persons nominated and trained to assist with evacuation, including evacuation of disabled people? |  | Yes | No |
| Are there suitable arrangements for summoning the fire and rescue service? |  | Yes | No |
| Comments and hazards observed: |  |  |  |
| - TRAINING AND DRILLS |  |  |  |
| Have staff been trained to an adequate standard to ensure that the prevention and protective measures are effectively operated, managed and maintained? | Yes |  | No |
| Have all staff including temporary and agency staff have completed Day One Induction (this covers fire prevention and evacuation arrangements)? | Yes |  | No |
| Are staff made aware of the fire risks particular to the premises? | Yes |  | No |
| Are staff familiar with the fire safety measures on the premises? | Yes |  | No |
| Staff understand the role of self-closing and other fire resisting doors | Yes |  | No |
| Location and use of fire extinguishers? | Yes |  | No |
| Are fire drills and simulated exercises are conducted at regular intervals. | Yes |  | No |
| Are staff instructed in the means for summoning the fire and rescue service? | Yes |  | No |
| Are staff with special responsibilities (e.g. fire wardens) given additional training? | Yes |  | No |
| Is staff training repeated at suitable intervals to maintain competence? | Yes |  | No |
| Comments and hazards observed: |  |  |  |
| - TESTING AND MAINTENANCE |  |  |  |
| Weekly testing and periodic servicing (at least every six months) of fire detection and alarm system? | Yes |  | No |
| Monthly and annual testing routines for emergency escape lighting? | Yes |  | No |
| Annual maintenance of fire extinguishing appliances and monthly visual inspection? | Yes |  | No |
| Routine checks of final exit doors and/or security fastenings? | Yes |  | No |
| Routine checks of fire doors and associated equipment, e.g. intumescent strips, cold smoke seals, automatic hold-open devices? | Yes |  | No |
| Are suitable systems in place for reporting and subsequent restoration of safety measures that have fallen below standard? | Yes |  | No |
| Comments and hazards observed: |  |  |  |
| - RECORDS |  |  |  |
| Are up-to-date records of the following routine tests maintained in the fire safety file or log book? | Yes |  | No |
| Fire alarm tests | Yes |  | No |
| Emergency escape lighting tests | Yes |  | No |
| Fire extinguisher inspections | Yes |  | No |
| Fire Door checks including automatic door release units. | Yes |  | No |
| Fire drills | Yes |  | No |
| Fire training | Yes |  | No |
| Comments and hazards observed: |  |  |  |

| ACTION PLAN The remedial actions identified in the Action Plan are prioritised. The following time scales are suggested for the remedial actions to be implemented. |  |  |  |  |
| --- | --- | --- | --- | --- |
| PRIORITY | MEANING |  |  |  |
| High | Immediate priority to be actioned within 24 hours to 8 weeks Breaches of legal requirements, which could cause injury and require immediate short term action. Also includes matters that can be resolved at minimal cost |  |  |  |
| Medium | Medium priority to be actioned within 2-6 months Breaches in legislation that may require medium/long term action to resolve |  |  |  |
| Low | Low priority to be actioned within 6 months-1year Items of non-urgent priority or for future consideration |  |  |  |
| Section Ref No. | Remedial Action | Priority | By whom | Action completion date |
| 1. | Electrical sources of ignition |  |  |  |
| 2. | Smoking |  |  |  |
| 3. | Portable heaters and heating installations |  |  |  |
| 4. | Cooking |  |  |  |
| 5. | Laundry |  |  |  |
| 6. | Housekeeping / sources of fuel |  |  |  |
| 7. | Medical Oxygen |  |  |  |
| 8. | Means of escape in case of fire |  |  |  |
| 9. | Measures to limit fire spread and development |  |  |  |
| 10. | Emergency escape lighting |  |  |  |
| 11. | Fire safety signs and notices |  |  |  |
| 12. | Means of giving warning in case of fire |  |  |  |
| 13. | Manual fire extinguishing appliances |  |  |  |
| 14. | Procedures and arrangements |  |  |  |
| 15. | Training and drills |  |  |  |
| 16. | Testing and maintenance |  |  |  |
| 17. | Records |  |  |  |